## Slide 1: Plasma Diagnostic Techniques Lecture 11: Thomson scattering
Deborah O’Connell
York Plasma Institute

## Slide 2: Measured vs calculated decay rate
  Uncertainty in the calculated decay rate
     Error introduced in the density calculation
 For reliable density measurement, decay rate should be measured

## Slide 3
Influence of surface on lifetime
No surface
Surface at 2.5 mm

## Slide 4
Thomson Scattering

## Slide 5
Laser Light Scattering
Plasma
Free electrons → Thomson scattering
Bound electrons → Rayleigh scattering
Scattering by molecules → Raman Scattering
YAG:Nd Laser @ 532 nm

## Slide 6
Rayleigh and Raman Scattering
Rayleigh and Raman scattering can be used to measure neutral particle densities.
The spectral distribution of Raman scattering depends on ro-vibrational distributions and hence provides a possibility to measure these.

## Slide 7
Thomson scattering
The electric field of an incoming photon accelerates free electrons.
The accelerated electrons emit radiation in form of a scattered photon.
The direction of the scattered photon can be different to the incoming photon.

## Slide 8
Laser Thomson scattering
York Plasma Institute

## Slide 9
Thomson scattering
The power of the scattered light is given by:
This defines the Thomson scattering cross section to be:
This is a very small cross section which makes Thomson scattering experiments extremely challenging!

## Slide 10
If an electron is moving with velocity v in the direction of the incident light wave (wavevector k0) then, in our classical view, the electron oscillates at:
2. Spectral distribution of scattered light => electron temperature (EEVF) (Doppler-effect!)
Scattering geometry
Thomson scattering
1. Intensity of scattered light => electron density
The scattered light is Doppler shifted and appears to the observer at:
Leading to:
Notes: 2 Doppler effects occurring:
- Incoming light and moving electron
Accelerated electron and the observer
Wavevector = 2pi/lambda
(only sees component in direction of the laser)
wd – freq electron sees’
S - in direction of the observer
Ki (incoming wave), Ks (scattered wave),

## Slide 11
2π/Dk
2π/Dk
Scattering parameter:
→ Incoherent scattering: Electron contributions dominate the scattered spectrum (typical for low plasma densities)
→ Coherent scattering: Ion contributions modify the scattered spectrum (typical for high plasma densities)
Scattering parameter
The observation angle allows us to ‘tune’ between incoherent and coherent scattering regimes. Often the incoherent regime is preferred because of its ‘simplicity’, i.e. 90° observation, which also reduces unwanted stray light.
Notes: If scattering is small compared to Debye length – collective behaviours don‘t play a role – only see electrons (only probing individual electrons)
Scattering parameter comparable to Debye length – see collective phenomena – ions and electrons interact on that lengthscale
High densities – small Debye length

## Slide 12
Scattering regimes
Incoherent scattering:
Coherent scattering:

## Slide 13
Thomson scattering on MAST

## Slide 14
Thomson scattering on MAST

## Slide 15
Thomson scattering cross section is very small requiring high power lasers.
Stray light can be problematic, using a triple grating spectrometer can very efficiently reduce stray light.
Practical challenges

## Slide 16
What is the x-axis?
What is the y-axis?
How does the density depend on pressure?
How does the temperature depend on pressure?
Typical results

## Slide 17: Typical results
What is the x-axis?
What is the y-axis?
How does the density depend on pressure?
How does the temperature depend on pressure?