## Slide 1: Plasma Diagnostic Techniques Lecture 2: Optical Emission Spectroscopy
Deborah O’Connell
York Plasma Institute

## Slide 2
Mass spectrometry
neutral particles and ions
energy distribution functions
    non-intrusive
    direct
Mass spectrometry
    complicated in detail
    external measurement
    reactive gases

## Slide 3
Mass spectrometry
Example: Capacitively coupled plasma - dual frequency
Mass resolved ion energy distribution functions

## Slide 4
Optical diagnostics
  in principle all plasma parameters
    non-intrusive
    high temporal and spatial resolution
Plasma physics
Atomic & molecular physics
Optical diagnostics
How do we measure plasma quantities?

## Slide 5
Emission spectroscopy
    passive
    simple
    robust
    indirect
    model based
    data needed
Laser spectroscopy
    direct
    highly reliable
    active
    involving
    expensive
 Combination of passive and active methods
Optical diagnostics

## Slide 6
Typical optical emission set-up
Plasma / light source
Imaging
Wavelength discrimination
Detector

## Slide 7
Optical spectrometer

## Slide 8
Vacuum spectrometer

## Slide 9
The Bohr Model of the Atom
Nucleus
electrons
Electrons can only be in specific orbits around the central nucleus
These orbits have discrete energy states
Electrons in atoms and molecules can also be raised to higher energy states – electronically excited states